## Slide 1
UPRM Lidar lab for atmospheric research
1- Cross validation of solar radiation using remote sensing equipment & GOES-13
2- Lidar and Ceilometer validation
3- Lidar overlap correction
Hamed Parsiani
Professor of Electrical & Computer Engr. UPRM
Luis Tavarez – BS Computer Engr. UPRM
Susana Galicia – BS Computer Engr. UPRM (Website)
Jose Nieves – PhD student

## Slide 2: Cross validation of solar radiation using remote sensing equipment & GOES-13 -----------AERONET at UPRM
AERONET, was recently installed over the roof top of Stefani Building at UPRM, in-situ with the Lidar system.
AERONET tracks Sun and provides day time data, when there are little or no clouds.
Provides data every 15 minutes,
Measure solar radiation at eight wavelengths in the interval of 340 nm to 1640 nm.
Multiple products are calculated per wavelength. For cross-validation, the AERONET AOD data at 675 nm wavelength is used as it is closer to the wavelengths of GOES-13 and Pyranometer.

## Slide 3: Cross validation of solar radiation using remote sensing equipment & GOES-13 -----------AERONET AOD data
AERONET located at Stefani Building UPRM
Data obtained from AERONET
AOD plot obtained from AERONET

## Slide 4: Cross validation of solar radiation using remote sensing equipment & GOES-13 -------AERONET AOD data @ 675nm
Chart: Aeronet Aerosol Optical Depth Results
| 0.48748842592592689 | 0.500925925925925 | 0.54004629629629664 | 0.55820601851851959 | 0.57821759259259264 | 0.60322916666666671 | 0.68656249999999996 | 0.769895833333336 | 0.86603009259259456 | 0.8866666666666666
AOD | 0.10471 | 0.14832 | 0.25816 | 0.3244 | 0.328 | 0.43809 | 0.53571 | 0.4632 | 0.24774 | 0.21512
Data taken on February 5, 2013 using AERONET
Time ranging from 11:41 to 21:16 GMT
Wavelentgh used 675 nm

## Slide 5
The GOES-13 Satellite data over the visible range is of 1km resolution
It passes over UPRM once every 30 minutes.
Downloaded data is available in UPRM webpage http://ece.uprm.edu/noaa-crest/ corresponding to UPRM location at 18.21 N 67.14 W.
Cross validation of solar radiation using remote sensing equipment & GOES-13 ---------GOES-13 @ 550-750nm

## Slide 6
Picture taken from the GOES-13 satellite
GOES-13 Satellite

## Slide 7
GOES-13 Satellite for Feb. 5, 2013
Chart: Satellite Solar Radiation Measurement Results
| 0.47986111111111107 | 0.51041666666666541 | 0.54236111111111107 | 0.56319444444444533 | 0.58402777777777759 | 0.60486111111111163 | 0.68819444444444533 | 0.77152777777777781 | 0.85486111111111163 | 0.88541666666666541
Radiation | 83 | 307 | 415 | 515 | 606 | 684 | 716 | 659 | 324 | 126
Data taken on February 5, 2013 using GOES Satellite
Time ranging from 11:31 to 21:15 GMT
Range of Wavelengths used from 550 to 750 nm

## Slide 8
The pyranometer installed on the roof of UPRM, measures solar radiation at a wavelength range of 300 to 1100 nm. Data acquisition takes place every 10 minutes. Data from the pyranometer is more reliable around 12 noon, due to the zenith angle of the pyranometer. Pyranometer data is compared in across validation with GOES-13 data.
Solar radiation using remote sensing equipment & GOES-13
Pyranometer @ 300-1100nm

## Slide 9
Pyranometer location
Pyranometer installed
at Stefani Building UPRM
courtesy of Dr. Eric Harmsen

## Slide 10
Pyranometer Data
Chart: Pyranometer Radiation Measurement Results
| 0.4861111111111111 | 0.5 | 0.54166666666666652 | 0.55555555555555569 | 0.57638888888888884 | 0.60416666666666652 | 0.6875 | 0.7708333333333347 | 0.8680555555555568 | 0.88888888888888884
Radiation | 174 | 239 | 481 | 563 | 680 | 819 | 1086 | 1016 | 458 | 245
Data taken on February 5, 2013 using Pyranometer
Time ranging from 11:40 to 21:20 GMT
Range of Wavelengths used from 300 to 1100 nm

## Slide 11: Solar radiation using remote sensing equipment & GOES-13 Cross-Validation
Cross-validation is done between GOES-13 and Pyranometer and between GOES-13 and AERONET. AOD is a unit less measurement , and at many magnitudes lower than the solar radiation values. A common factor is used to raise the AOD plot to a comparable level with GOES-13 radiation plot. For the cross-validation between GOES-13 and Pyranometer, a factor needed to be implemented to obtain GOES-13 values comparable to Pyranometer data. Cross-validation was done using available data for three months, and comparing the data at near matching times, starting around 7:30 am and ending around 3:00 pm. A data matching in time of up to ± 5 minutes was searched and used in the cross validation effort.

## Slide 12: Solar radiation using remote sensing equipment & GOES-13 Cross-Validation
Chart: Solar Radiation Measurement Results February 05, 2013
| 0.4861111111111111 | 0.5 | 0.54166666666666652 | 0.55555555555555569 | 0.57638888888888884 | 0.60416666666666652 | 0.6875 | 0.7708333333333347 | 0.8680555555555568 | 0.88888888888888884
Pyranometer | 174 | 239 | 481 | 563 | 680 | 819 | 1086 | 1016 | 458 | 245
Satellite + F1 | 229.2 | 453.2 | 561.2 | 661.2 | 752.2 | 830.2 | 862.2 | 805.2 | 470.2 | 272.2
AERONET AOD*F2 | 201.4563 | 285.3638 | 496.696 | 624.1437 | 631.0778 | 842.8813 | 1030.7118 | 891.1968 | 476.6537 | 413.8909
Cross-validation between Pyranometer, Satellite and AERONET AOD, with F1=146.2 and F2=1924

## Slide 13
LIDAR
Data taken on February 5, 2013 using LIDAR
Data at 10:01 and 10:31 AM local time
Wavelength used 532 nm
Chart: LIDAR Aerosol Optical Depth Results
| 0.58402777777777759 | 0.60486111111111163
LIDAR | 0.2061 | 0.2122

## Slide 14
LIDAR and GOES-13
Chart: LIDAR vs GOES-13
| 0.58402777777777759 | 0.60486111111111163
Satellite | 606 | 684
LIDAR*F1 | 635.4063 | 654.2126
Cross-validation between Satellite and LIDAR AOD, with F1=3083

## Slide 15
Results & Conclusion
For data taken at 12 noon
  A 19% error was observed between GOES-13 and Pyranometer,
  A 12% error was observed between GOES-13 and AERONET.
The 19% error between GOES-13 and Pyranometer is due to:
  a result of the pyranometer restriction of 12 noon data due to its installation at zenith angle,
  the Sun was never at zenith angle with pyranometer during the measurements,
  GOES-13 sensor data being an average of reflections of Sun over a 1Km foot print.
A lower 12% error is observed between GOES-13 and AERONET due to better matching between the satellite and the AERONET 675nm sensors data, since AERONET tracks the Sun.
Sensor data was an average over a range of wavelengths
        GOES-13 @ 550-750nms & 1Km foot print
        Pyranometer @ 300-1100nms

## Slide 16: LIDAR and Ceilometer Validation

## Slide 17
UPRM Ceilometer Data –May 30, 2013
Intensity plot using BL-View software
Data taken on May 30th, 2013 from 10:55 am to 4:30 pm local time using Ceilometer

## Slide 18
UPRM LIDAR Data– May 30, 2013
Power Plot of data taken on May 30th, 2013 from 1:05 pm to 1:55 pm local time using LIDAR

## Slide 19
LIDAR uses three wavelengths: 1064, 355, and 532 nm
Lidar data taken on May 30th, 2013 from 1:05 pm to 1:55 pm local time
2013 May30, UPRM-Ceilometer at 910 nm
Ceilometer data taken on May 30th, 2013 from 1:05 pm to 1:55 pm local time using Ceilometer
LIDAR and Ceilometer Comparison – May 30, 2013

## Slide 20
LIDAR and Ceilometer Comparison – May 31, 2013
Data taken on May 31th, 2013 from 12:32 pm to 1:28 pm local time
Data taken on May 31th, 2013 from 12:32 pm to 1:28 pm local time using Ceilometer

## Slide 21: UPRM website for Lidar, AERONET, & Ceilometer data
At UPRM NOAA-CREST user friendly website, there are currently:
Lidar Power Plots, raw LIDAR Backscatter data, Backscatter Coefficient, AOD, and Angstrom Coefficient plots
Link to UPRM AERONET data
Ceilometer data -- Pending
website could be reached at link http://ece.uprm.edu/noaa-crest/.

## Slide 22
Future Work
AOD validation using LIDAR and GOES-13
AOD validation using LIDAR and Ceilometer
Water vapor mixing ratio using Lidar 407 & 387 nms
Continued updating of database for
          Lidar three wavelengths
          AERONET
          Ceilometer CL51

## Slide 23: Lidar overlap correction using Ansmann method applied to three wavelengths Jose Nieves, Hamed Parsiani
At the UPRM Atmospheric Research Laboratory, the backscatter-power data received from the Lidar equipment is processed and used to determine various atmospheric parameters [1,2], such as the fundamental aerosol backscatter coefficient, aerosol extinction coefficient, aerosol optical depth (AOD), aerosol size distribution (ASD), water vapor mixing ratio (WVMR), etc..
Determination of the Lidar ratio is fundamental in the usage of equations leading to the calculations of these important atmospheric parameters. There have been multiple methods devised for the Lidar ratio determination including combining Mie and Raman scattering data if available. In this work, the Lidar ratio is determined for the three fundamental Lidar wavelengths of 355, 532, and 1064nms without the usage of the Raman channel, using AERONET AOD data. The approach in the past involved incrementing an initial Lidar ratio assumption until the error in AOD calculated by Lidar and obtained from AERONET approached zero or an acceptable value. In the present work, the initial backscatter ratio is incremented from an initial value in a nested fashion while initial lidar ratio is being incremented. At every joint variations the AOD error due to the difference of Lidar and AERONET results is obtained. A final Lidar ratio is accepted when the error has converged to a minimum value.

## Slide 24
Fig.9 Aerosol Extinction coefficient at 355nm, 532nm and 1064nm
Fig.10 AOT at 355nm, 532nm and 1064nm
Fig.8 Aerosol backscatter coefficient comparison at 355nm after overlap correction
Fig.7 Backscatter power at 355nm and 387nm for overlap correction
Fig.6 Aeronet AOD from La Parguera, used for Lidar AOD error calculation
Fig.5 Lidar raw data (10:49 to 11:19AM averaged) used for the 355nm backscatter calculations

## Slide 25: Results & Conclusion
A proper analysis of the particles optical properties at the boundary layer is not accurate.
Boundary layer correction used 355/387nm backscatter raw data. See UPRM database at link
http:/ece.uprm.edu/noaa-crest.
.The corrected backscatter elastic 355nm signal in red. This helps improve determination of atmospheric optical characterizations
Using the overlap correction method of Annsman, improvement was made for below the 1 Km range for Lidar three wavelengths of 355, 532, and 1064, extending the boundary layer data observation.
In the process of boundary layer correction, UPRM auto-determination of lidar ratio algorithm was used for each wavelengths which incorporated the AOD data from Parguera, PR AERONET.
Wavelength | Lidar ratio
355 | 40
532 | 60
1064 | 40
Algorithm used for auto-Lidar ratio determination
UPRM Lidar data Feb. 15, 2012 11:31 AM

## Slide 26
Thanks

## Slide 27: Algorithm for Lidar ratio
> Step 1: First For loop, Lidar Ratio (40 - 60)
> Step 2: Second For loop, Initial Backscatter Ratio (1 – 1.1)
Calculate Aerosol Backscatter
Calculate Aerosol Extinction
Calculate Lidar AOD
Compare Lidar AOD with Aeronet AOD
Calculate AOD error
Repeat step 2 for each Initial Backscatter Ratio value
Repeat step 1 for each Lidar Ratio value
> Save Initial Backscatter Ratio and Lidar Ratio parameters
that minimize AOD error
> Plot AOD with saved parameters